## Sheet1
Meter Sizing
Water Supply Fixture Units as Specified in the 2017 Oregon Plumbing Specialty Code
Appliances, Appurtenances or Fixtures | Total Fixtures in Existing Structure(s) | Fixtures added through development | Multiplier | Fixture Unit Value
Bathtub or Combination Bath/Shower (fill) | 1 |  | 4 | 4
3/4" Bathtub Fill Valve |  |  | 10 | 0
Bidet |  |  | 1 | 0
Clothes Washer |  |  | 4 | 0
Dental Unit, cuspidor |  |  |  | 0
Dishwasher, domestic |  |  | 1.5 | 0
Drinking Fountain or Water Cooler |  |  | 0.5 | 0
Hose Bibb |  |  | 2.5 | 0
Hose Bibb, each additional |  |  | 1 | 0
Lawn Sprinkler, each head |  |  | 1 | 0
Sinks |  |  |  | 0
Bar |  |  | 1 | 0
Clinical Faucet |  |  | 0.5 | 0
Clinical Flushometer Valve, with or without faucet |  |  | 0.5 | 0
Kitchen, domestic with or without dishwasher |  |  | 1.5 | 0
Laundry |  |  | 1.5 | 0
Lavatory (Bathroom) |  |  | 1 | 0
Service or Mop Basin |  |  | 1.5 | 0
Washup, each set of faucets |  |  |  | 0
Shower, per head |  |  | 2 | 0
Urinal, 1.0 GPF Flushometer Valve |  |  | Refer to Specialty Code
Urinal, greater than 1.0 GPF Flushometer Valve |  |  | Refer to Specialty Code
Urinal, flush tank |  |  | 2 | 0
Wash Fountain, circular spray |  |  |  | 0
Water Closet, 1.6 GPF Gravity Tank (Toilet) |  |  | 2.5 | 0
Water Closet, 1.6 GPF Flushometer Tank (Toilet) |  |  | 2.5 | 0
Water Closet, 1.6 GPF Flushometer Valve |  |  | Refer to Specialty Code
Water Closet, greater than 1.6 GPF Gravity Tank (Toilet) |  |  | 3 | 0
Water Closet, greater than 1.6 GPF Flushometer Valve |  |  | Refer to Specialty Code
|  | Total Fixture Units: |  | 4
|  | Required Meter Size: |  | 5/8"